## Slide 1
The GEM activities at Tsinghua University
Zhigang Xiao1, Yan Huang1, Rensheng Wang1, Haiyan Gao1,2
1 Department of Physics, Tsinghua University
2 Dept. of Physics and Triangle Universities Nuclear Laboratory, Duke University
Li Min Duan3
3 Institute of Modern Physics, Chinese Academy of Science
物 理 系
5th workshop on hadron physics in China and the opportunities in US
July 2-6, Huang-Shan College, China

## Slide 2
Content
1 Small GEM detector test
1.1 Performance test
2 Large GEM detector test
2.1 Electronics
2.2 DAQ test
2.3 Large GEM assembling
3 Near Future Plan
4 Summary and Outlook
Mainly focusing on the performance test and simulation

## Slide 3: The set up of test
GEM foil (CERN):
50mm*50mm
300um
400um
100um
200um
1 Small GEM prototype test

## Slide 4
… …
… …
Charge Amplifier
Fe55
Homemade
Energy Resolution

## Slide 5
Gain studies

## Slide 6: Cluster Size Analysis
Therein:
is the position of fired strip;
is the amplitude of signal;
is the position, calculated from centroid;

## Slide 7
Cluster size of signal of main peak
-HV
1710
1750
Ar | 75 | 80 | 85
Cluster Size studies

## Slide 8
Second central moment/Variance
-HV
1710
1750
Ar | 75 | 80 | 85
Cluster Size studies

## Slide 9
Spatial Resolution studies

## Slide 10: Method Description
55Fe(Surface source)

## Slide 11: Use the counting rate in place of the slit width
55Fe(Surface source)
n is counting rate
nw2

## Slide 12
Simulation test
条件：
Initial GEM Resolution (μm)：70；
Slit Thickness(μm)：3, 4, 5, 6, 7;
Slit Width(μm):20,30… 100;
Angle Uncertainty：1.0, 0.5, 0.25, 0.125;
Total resolution linearly depends on w2

## Slide 13: Experimental test
1 dimensional readout；
Inter stripe : D=200um， 400um；
gas：Ar(85%)+CO2 (15%)

## Slide 14
When W≈40μm:
1, (a): Fitting the main peak to get the events in (mean ±3σ) range
2, (b): Gaussian fit to the selected events to get the position spectrum after background subtraction;
3，Repeat at different w。

## Slide 15
Results(1-D, 200μ inter strip distance)
σGEM=56 ±15μm

## Slide 16
2 Large Area GEM detector
2.1 Electronics
2.2 DAQ test
2.3 Large GEM assembling

## Slide 17
Electronics
APV or CASAGEM ?
Charge Amplifier and Shaping Amplifier for GEM
Function: 16 channels for each, Amplification + Shaping
Developed by Prof. Zhi Deng from the Dept. Engin. Phys., THU

## Slide 18
CASAGEM Parameters
Gain | 2~40mV/fC
Dynamic Range | 0~1000fC
Shaping time | 20~80ns
INL | <1%
Power | 10mW/ch (Anode channel), 11mW/ch (Cathode channel )
ENC | <2000e (Anode channel, Input Cap: 50pF), <3000e (Cathode channel, Input Cap: 100pF)

## Slide 19
CASAGEM Parameters

## Slide 20
Trigger Signal ?
Drift /Sensitive
Transfer
Induction
Cathode
GEM1
GEM2
Anode/Readout strip
2.625mm
2.25mm
1.625mm
-HV(1300V-1900V)
1MΩ
13MΩ
20MΩ
22MΩ
20MΩ
16MΩ
Trigger is the first problem we encounter if we are using the CASAGEM card.

## Slide 21
Always Fighting
That’s it！
…against the noise
…against the false signal

## Slide 22
Performance test

## Slide 23
Test with Fe-55
Why the escape peak is so suppressed?
Why the main peak is narrower?

## Slide 24
1
2
3
Trigger
PMT
N625
ADC1
N568b
ADC2
ADC3
Test of DAQ with multi ADC modules
Purpose:
1 Extendable to multi-ADCs?
2 If the ADCs are synchronized?

## Slide 25
Idea and Setup
A same random signal (from scintillator) are fanned out to different modules, check the coincidence between every two.

## Slide 26
BEAR V1.10.4
Correlation is kept for 4+ days

## Slide 27
Large GEM detector assembling
By Gas Detector Group, Institute Of Modern Physics
Prof. Limin Duan

## Slide 28
Foil extending

## Slide 29
Readout strip design
Rate and multiplicity is lower in lab test. So we use strip readout.
~300+200 um
106 holes

## Slide 30
Mechanical Design

## Slide 31
Near Future Work I
Make d2>d1 to see the effect.
Cathode
GEM1
GEM2
Anode/Readout strip
d1
d2
-HV
Ensure the CASAGEM is working properly with GEM detector.
Next: inter foil distance effect
For large foil, the inter-foil distance is hard to be completely homogeneous, particularly when it is running with high current in B field.

## Slide 32
Near Future Work II
0 To see correct signals
1What is the performance in cosmic ray test?
2What is the performance in beam test?
3What is the performance in a perpendicular B field?
When the large GEM detector is ready:

## Slide 33
Summary and Outlook
A small GEM prototype (5*5) has been used in the R&D studies, performance (gain, energy resolution and position resolution) is good.
Towards the test of a large GEM prototype: large GEM foil arrived and a prototype is in assembling. CASAGEM FEE will be adopted in the coming test.
VME-base multi ADC DAQ system is developed and tested.
While we are looking forward to having the large GEM prototype assembled, we plan to see a priori the effects of changing the inter-foil and the inter-strip distance, which are all of relevance to the performance of a larger GEM detector.
Thank you for your attention!